Tisdale Methodist Church is seeking proposals/quotations from qualified vendors to design, supply, install, and maintain a Physical Access Control System (PACS) for our facilities. The system must secure perimeter exits, entrances, offices, classrooms, and other designated rooms within our church and gymnasium building.

Note: The facility is a combination of old and new construction. Vendors should anticipate unique installation challenges and are required to conduct a site inspection before submitting final proposals.

## 2. Objectives

- Enhance safety and security for staff, congregation, and visitors.

- Control and monitor access to sensitive areas.

- Provide audit trails and reporting capabilities.

- Ensure scalability for future expansion.

## 3. Scope of Work

The selected vendor will be responsible for:

- System Design: Assess facility layout and recommend appropriate hardware/software.

- Installation: Supply and install access control devices (card readers, keypads, electronic locks, etc.).

- Integration: Ensure compatibility with existing security systems (CCTV, fire alarms, etc.). Church has no current locking systems, uses an Avigilon Camera System.

- Training: Provide training for administrators and end-users.

- Support & Maintenance: Offer ongoing technical support and service agreements.

## 4. System Requirements

- Access Points:

  - All perimeter exits and entrances.

  - Offices, classrooms, and sensitive rooms.

  - Gymnasium access doors.

- Hardware (Card Readers or Keypads Only): Vendors must propose solutions using card readers and/or keypads for each access point.

  - Electronic locks and strikes (magnetic, electric, or mechanical).

  - Control panels and power supplies with backup capability.

Proposals should outline:

  - Recommended hardware type per zone.

  - Cost differences between card reader vs. keypad solutions.

  - Pros/cons of each option (security, ease of use, maintenance).

- Software:

  - Centralized management platform.

  - Role-based access permissions.

  - Audit logs and reporting.

  - Remote administration capability.

- Performance:

  - High reliability and uptime.

  - Scalable to add new doors/zones.

  - Secure encryption for data transmission.

## 5. Vendor Qualifications

Vendors must demonstrate:

- Experience with PACS installations in similar facilities (schools, churches, gyms).

- Licensing, insurance, and certifications.

- References from at least three comparable projects.

- Ability to conduct thorough site inspections and adapt solutions to mixed construction environments.

## 6. Proposal Submission Requirements

Proposals must include:

- Company profile and qualifications.

- Detailed technical solution (hardware/software specifications).

- Project plan with timeline.

- Warranty and support options.

- Pricing breakdown (equipment, installation, training, maintenance).

## 7. Evaluation Criteria

Proposals will be evaluated based on:

- Compliance with system requirements.

- Vendor experience and references.

- Cost-effectiveness.

- Quality of support and maintenance offerings.

- Site inspection findings and adaptability to building conditions.

## 8. Timeline

- RFP/Q Release Date: February 20, 2026

- Proposal Submission Deadline: April 1, 2026

- Vendor Site Inspections: TBD

- Vendor Selection: April 1 – May 1.

- Project Start: TBD

- Completion Target: TBD

## 9. Contact Information

All proposals and inquiries should be directed at:

Tisdale Methodist Church Address: 17507 US 160, Winfield, Kansas 67156 Contact:

Adam Chriss Phone: 620-222-4353 Email: adamchriss@gmail.com

## 10. Access Points & Preferred Hardware Options

| Location / Door | Preferred Hardware Options | Notes |
| --- | --- | --- |
| Main Entrance (Front) | Card Reader OR Keypad | High traffic, primary congregation entry |
| Side Entrances (2) | Card Reader OR Keypad | Moderate traffic |
| Rear Exit | Card Reader OR Keypad | Emergency exit, limited use |
| Gymnasium Main Entrance | Card Reader OR Keypad | High traffic during events |
| Gymnasium Side Doors (2) | Card Reader OR Keypad | Staff/athletic use |
| Pastor’s Office | Card Reader OR Keypad | Sensitive area |
| Administrative Offices (3) | Card Reader OR Keypad | Staff access only |
| Classrooms (6) | Card Reader OR Keypad | Flexible access control |
| Storage Rooms (2) | Card Reader OR Keypad | Equipment security |
| Fellowship Hall Entrance | Card Reader OR Keypad | Event space |
| Mechanical/Electrical Rooms (2) | Card Reader OR Keypad | Restricted access |
| Kitchen Entrance | Card Reader OR Keypad | Staff use |

### Vendor Instructions

- Vendors must propose either card readers or keypads for each access point.

- Provide line-item pricing for each door/room.

- Indicate pros/cons of card reader vs. keypad solutions (security, ease of use, cost, maintenance).

- Note any special installation considerations due to the building’s combination of old and new construction.

- Site inspection is mandatory before final proposal submission.

- All bids must be Sealed and returned by April 1, 2026.